|  | ......................... Pcs. .............................. € .............................. € Integrated GEZE Boxer door closer, for single-action doors with door leaf thickness from 40 mm; according to EN 1154, size 2 – 4; with guide rail and lever for narrow frame rebate to avoid collisions between the lever and the door profile; closing force, closing speed, hydr. back check and latching action are adjustable on the installed unit The closer is fully integrated in the door leaf, the guide rail is visible only when the door is open. Up to 130 kg door leaf weight / door width 1100 mm for left and right single-action doors Colour: ( ) silver-coloured ( ) RAL |
| --- | --- |