|  | ......................... pcs. .............................. € .............................. € GEZE Slimline fanlight opener OL 320 with opening width 320 mm, for 1 vertically installed bottom-hung casement, inward opening, with clearance-free actuation via spring hinge reverser, Scissors with safety button. Rod covered with aluminium profile ( ) Corner operating gear Fz-100 ( ) with gear Fz-101 for vertical installation ( ) with fixed crank rod ( ) with loose crank rod Leaf width: ........ mm ( ) 1 scissors for casement widths from 680 - 1200 mm1) ( ) 2 scissors for casement widths from 1201 - 2400 mm1) ( ) 3 scissors for casement widths from 2401 - 3600 mm1) Casement height: ........ mm (min. 400 mm) Centre of rod to middle of universal joint Fz-100 = 237 mm Fz-101 ...........mm (min. 470 mm) Colour: ( ) silver-coloured ( ) white 9016 ( ) RAL ........ 1) Heed panel widths and restrictions Note: When fanlight opening systems are used on bottom-hung casements, we prescribe the use of separate safety scissors for product liability reasons. These represent an additional safety feature which guarantees the permanent connection fo casement and frame, e.g. GEZE FPS |
| --- | --- |
|  | ......................... pcs. .............................. € .............................. € GEZE FPS gripping and cleaning scissors ( ) Size 1 from casement height 360 mm ( ) Size 2 from casement height 540 mm ( ) Size 3 from casement height 740 mm |